## Slide 1: Algorithms for the survey

## Slide 2: Detection of vital signs based on millimeter wave radar

## Slide 3: FMCW Millimeter-Wave Radar-Based Remote Monitoring of Vital Signs in Multiple Subjects
MUSIC for BR
IIR filter
0.1-0.5 Hz
2DFFT for HR
IIR filter
0.8-2 Hz
First FFT
Identify peaks (people)
Extract phase
Sliding Average Filter
Unwrap and phase diff

## Slide 4: A high precision vital signs detection method based on millimeter wave radar

## Slide 5: RF Vital Sign Sensing under Free Body Movement (only static)
FFT and get highest peak
Band-pass filter
0.1-0.5 Hz
FFT and get highest peak
Band-pass filter
0.8-2 Hz
First FFT
Identify peaks (people)
Extract phase
Unwrap and phase diff
Should we consider this algorithm int the survey?

## Slide 6: Remote Monitoring of Human Vital Signs Based on 77-GHz mm-Wave FMCW Radar (Hongjia)

## Slide 7: Vital-sign monitoring and spatial tracking of multiple people using a contactless radar-based sensor
First FFT
Identify peaks (people)
Extract phase with linear demodulation
Attenuate artifacts
Wavelet separation with sliding window
Average windows and calculate BR with FFT
Average windows and calculate HR with FFT